FIGHT THE GRANBY SOLAR FARM

A coalition of Granby & East Granby neighbors · fightgranbysolarfarm.com

HOW TO USE THIS DOCUMENT

• These are the formal written questions a developer must answer under oath once you have intervenor status at the Siting Council.

• You do NOT submit these until a petition is filed and the discovery schedule is set. Keep them ready.

• Every question they dodge becomes a gap in their petition and a ground for appeal. This is the monkey wrench.

# 77 Interrogatories for Broadleaf Solar / DESRI

Submit under your intervenor status per the discovery schedule. Organized by topic so you can prioritize.

## A. Environmental & Soil Contamination

1.  Identify all commercial nursery, agricultural, or industrial operations conducted on the site (35 Floydville Road and 90 Salmon Brook Street) from 1950 to present, including operators and dates.

2.  Provide all Phase I Environmental Site Assessments for the site, including the firm, completion date, and every Recognized Environmental Condition identified.

3.  Has a Phase II Environmental Site Assessment been conducted on any portion of the site? If yes, provide it. If no, explain why one was deemed unnecessary despite decades of nursery operations.

4.  Identify all pesticides, herbicides, fungicides, and soil amendments known or believed applied on the site during nursery operations, including trade names and active ingredients.

5.  Provide all soil sampling results for legacy pesticide or herbicide contamination, including the grid, depths, analytes, and detection limits. If none, explain why.

6.  Provide the full Cornell University soil analysis referenced by DESRI, including all sampling locations, methods, and recommendations.

7.  State the depth to groundwater across the site and provide a groundwater elevation map with at least one data point per 50 acres.

8.  Describe the hydrogeological connection between the site and the Salmon Brook aquifer, with supporting data.

9.  Will construction (grading, trenching, pile driving) disturb soil below 24 inches? If so, where and to what depth?

10.  What measures will prevent mobilization of legacy soil contaminants into groundwater during disturbance of 665 acres?

11.  Have soils been tested for arsenic, lead, mercury, DDT/DDE, chlordane, dieldrin, or other persistent pollutants common to nurseries? Provide results or explain why not.

12.  Estimate the total volume of soil to be disturbed, excavated, or relocated, and describe the management plan for any contaminated soils encountered.

## B. PFAS in Solar Panels

13.  Identify the manufacturer, model, and country of origin for all photovoltaic panels to be installed.

14.  Do the panel backsheets contain PFAS, including fluoropolymers such as PVDF or PVF?

15.  Have you obtained a full chemical composition disclosure for the backsheet material, including fluorine content by weight? Provide it or explain why not.

16.  State the total mass of fluoropolymer-containing material (kg) to be installed across the 100 MW facility.

17.  List every peer-reviewed study you reviewed on PFAS leaching from solar-panel backsheets during weathering, hail, microfracturing, or fire.

18.  Estimate cumulative PFAS loading (grams per acre per year) over the 25 to 35 year life under Connecticut weather, including hail, UV, and freeze-thaw.

19.  Does the stormwater plan monitor for PFAS in runoff from the array? Describe protocol, analytes, frequency, and detection limits, or explain why not.

20.  State the end-of-life disposal plan for the panels (recycle, landfill, export), the receiving facility, and whether it is permitted for PFAS-containing materials.

21.  After a hailstorm that damages panels, what is the protocol to prevent PFAS-containing debris from entering stormwater or Salmon Brook?

22.  Have you analyzed cumulative PFAS loading from this facility combined with other PFAS sources in the Salmon Brook watershed? If not, why not?

## C. Stormwater & Watershed

23.  Provide the complete Stormwater Management Plan, including all calculations, modeling assumptions, and design drawings.

24.  State the stormwater modeling software used (HydroCAD, SWMM, TR-55) and provide the model files and inputs.

25.  State pre-development impervious area (acres and percent of site).

26.  State post-development impervious or effectively impervious area (panels, roads, pads, battery areas), in acres and percent.

27.  How does the project account for changed runoff from panels concentrating rainfall at drip edges rather than allowing distributed infiltration?

28.  Provide peak-flow calculations for the 2, 10, 25, 50, and 100-year storms, pre and post-development, at every discharge point.

29.  State the drainage area to Salmon Brook from the site and the percentage of the Salmon Brook subwatershed the site represents.

30.  Describe all detention or retention basins: dimensions, storage volumes, outlet structures, and maintenance schedules.

31.  What erosion and sediment controls apply during construction, and how many acres will be exposed at one time across the 665-acre disturbance?

32.  Has CT DEEP reviewed and approved the stormwater plan under the construction General Permit? Provide the permit number or status.

33.  Will the project discharge to Salmon Brook or any tributary? Describe discharge points, expected water quality, and monitoring.

## D. Wetlands & Habitat

34.  Has a formal wetland delineation been performed per the 1987 Army Corps manual and regional supplement? Provide it with maps, or state when it will be done.

35.  State total wetland acreage on or within 100 feet of the site.

36.  Have vernal pool surveys been conducted? Provide methodology, dates, and results, or explain why not.

37.  What state-listed endangered, threatened, or special-concern species are documented within one mile? Provide NDDB correspondence.

38.  Have you received a Determination of No Effect from CT DEEP NDDB, or has DEEP requested further surveys? Provide all correspondence.

39.  Describe wildlife corridors crossing the site and how fencing and infrastructure will affect wildlife movement.

40.  State the acreage of forest, shrubland, and grassland habitat to be cleared or permanently altered.

41.  Provide results of any breeding-bird, bat acoustic, or pollinator habitat surveys.

42.  Will the project require a Section 401 Water Quality Certificate or Section 404 Army Corps permit? Provide status or the basis for concluding none is required.

43.  State the proposed buffer distance between solar infrastructure and wetland edges, and the scientific basis for its adequacy.

## E. Fire Safety & Battery Storage

44.  Does the project include Battery Energy Storage (BESS)? If yes, provide manufacturer, chemistry, total capacity (MWh), number and size of containers, and site locations.

45.  Provide the thermal-runaway risk assessment, including failure-mode analysis and probability calculations.

46.  Describe the BESS fire-suppression system: type, capacity, detection, and automatic activation triggers.

47.  Provide all correspondence and meeting notes with the Granby Volunteer Fire Department regarding the BESS, and any capacity assessment.

48.  Does the Granby VFD currently have the equipment, training, and staffing to fight a lithium-ion thermal-runaway fire? If not, what resources will DESRI fund, and at what cost?

49.  Provide the modeled toxic-emission plume for a thermal-runaway event (hydrogen fluoride, hydrogen cyanide, CO, particulates), with concentration contours and affected radius under worst-case weather.

50.  Provide the evacuation plan for residents within one to two miles of the BESS in a thermal-runaway fire.

51.  State the setback between the BESS and the nearest residential property line, and the actual distance to the nearest occupied home.

52.  Provide all Safety Data Sheets for the battery cells, electrolyte, and any fire suppressant to be stored on site.

53.  Provide your NFPA 855 compliance analysis for the project.

## F. Economic & Community Impact

54.  Provide the complete proposed PILOT agreement, including annual amounts, escalation, duration, and termination provisions.

55.  State the calculated annual payment under the Connecticut uniform solar capacity tax and the allocation between Granby and East Granby.

56.  How many permanent full-time jobs will be based in Granby, with titles, qualifications, and whether filled locally or by outside contractors?

57.  What percentage of the construction workforce will be hired from Granby, East Granby, or Hartford County, and will you commit to a local-hire percentage in writing?

58.  Provide any property-value impact study for homes within one mile, or state whether you will commission one before the proceeding.

59.  Have you offered a Community Benefit Agreement to the Town of Granby? Provide it, or explain why not.

60.  Will any electricity be available to Granby residents at a discount? If not, why not?

61.  Provide the complete decommissioning plan, including itemized cost, the financial-assurance mechanism, and the responsible party if the project is sold or abandoned.

62.  State the amount and form of the decommissioning bond, when it will be posted, and whether it adjusts for inflation.

63.  If the project is sold or transferred, what obligations pass to the successor, and what recourse does Granby have if the successor fails to perform?

## G. Visual, Land Use & Noise

64.  Provide a Visual Impact Assessment with photosimulations from all public roads, residences, and scenic viewpoints within one mile, or explain why none was done.

65.  Describe vegetative screening along residential boundaries: species, planting size, mature height, and timeline to effective screening.

66.  Provide a glare analysis (ForgeSolar or equivalent) for affected roads and residences, or explain why none was done.

67.  State expected noise levels (dBA) at the nearest residential property line from inverters, transformers, trackers, and any BESS cooling, with the noise study.

68.  Identify each relevant goal of the Granby Plan of Conservation and Development and explain how the project supports or conflicts with it.

69.  State the USDA agricultural classification of the site and how many acres are Prime Farmland or Farmland of Statewide Importance.

70.  Has the CT Department of Agriculture reviewed the project for agricultural-land impact? Provide all correspondence.

71.  State the height of proposed panels at maximum tilt, inverter stations, transmission structures, and any BESS containers.

72.  Describe all site lighting: purpose, locations, wattage, shielding, hours, and visibility from any road or residence.

## H. Corporate, Financial & Insurance

73.  Identify all operational DESRI solar projects, including location, capacity, commercial-operation date, and any environmental or regulatory compliance issues.

74.  Has any DESRI project been subject to enforcement action by a state environmental or energy agency? Provide details.

75.  Provide proof of general liability, environmental liability, and pollution legal liability insurance, including limits and covered events.

76.  State the panel manufacturer's warranty terms, including coverage for PFAS leaching, delamination, and degradation.

77.  If the project is transferred to a special-purpose entity or tax-equity partner, will the new entity be bound by all CSC conditions, and how is that enforced?